Duplex type

Sheathed thermocouple

Type K

Connection head type J

Measuring range: -200...1200 °C

Stainless-steel tubeØ: 12 mm

Total length-610mm(Terminal block not included)

Protection rating: IP65

Process connection: G 3/4th threaded